## Biobased Connector Roof Edge Profile

Supplier:
New Circle B.V.

## Product description

Biobased connector intended for connecting biobased roof edge profiles 60/80 to create a stable, continuous edge finish for extensive sedum roofs and green roofs. The connector provides a precise and invisible connection between the profiles.

## System description

The biobased roof edge system by New Circle consists of a biobased roof edge profile and the corresponding biobased connectors described above. All system components are manufactured from biobased HDPE and designed as an integrated circular system.

By using exclusively biobased components, a consistent and durable edge finish for green roofs is achieved without compromising technical performance, service life or ease of installation.

The system is suitable for extensive sedum roofs and green roofs and serves as a separation between vegetation, substrate and vegetation-free zones.

## Material

Biobased HDPE, manufactured from renewable raw materials.
Biobased content: minimum 98%.

## Dimensions

Length: 100 mm
Width: 60 / 80 mm
Height: 60 / 80 mm
Thickness: 2.7 mm

## Colour

Graphite (RAL 7024)

## Weight

Approx. 0.031 kg per unit

## Technical properties

- Dimensionally stable

- UV-resistant

- Resistant to weather conditions

- Fully recyclable

- Technical service life: approx. 50 years

## Sustainability

CO₂ emission: –1.97 kg CO₂-eq per kg of material.

Despite its low weight, the connector provides a demonstrably positive environmental impact.

## Installation

The connector is used to connect biobased roof edge profiles. Installation by bonding in combination with the roof edge profile. Mechanical fixation is not required.

## Guidelines

Installation in accordance with applicable green roof guidelines and supplier instructions.